## Measurements
Date | Purity monitor lifetime [us] | Purity monitor RMS [us] | Gas analyser O2 [ppb] | Gas analyser H2O [ppb]
2026-09-02 08:42 | 1120 | 0 | 944 | 3277
2026-09-02 16:07 | 531 | 0 | 253 | 135
2026-09-03 09:03 | 148 | 112 | 78.1 | 87.1
2026-09-03 20:59 | 166 | 98.8 | 46.9 | 76.2
2026-09-04 08:28 | 92.8 | 58.9 | 30.7 | 69.5
2026-09-04 16:18 | 177 | 71.9 | 25.4 | 63.9
2026-09-05 10:18 | 66.5 | 2.89 | 17.6 | 59.4
2026-09-06 20:16 | 156 | 1.85 | 14.9 | 52
2026-09-07 13:34 | 181 | 1.75 | 14.8 | 50.5
2026-09-08 08:47 | 195 | 0.543 | 14.9 | 48.4
2026-09-09 09:15 | 206 | 2.24 | 14.9 | 46.8
2026-09-10 08:56 | 210 | 2.51 | 158 | 228
2026-09-10 20:44 | 84.5 | 0.462 | 322 | 345
2026-09-11 08:56 | 51.6 | 1.48 | 235 | 331
2026-09-12 13:06 | 232 | 3.49 | 162 | 218
2026-09-13 13:04 | 267 | 2.34 | 77.6 | 187
2026-09-14 09:05 | 252 | 1.79 | 69.9 | 178
2026-09-14 20:23 | 243 | 1.33 | 121 | 197
2026-09-15 13:09 | 229 | 1.95 | 107 | 199
2026-09-15 21:57 | 218 | 1.87 | 15.2 | 57
2026-09-16 09:30 | 207 | 3.33 | 15.1 | 43.6
2026-09-16 14:37 | 81 | 1.24 | 17.7 | 42.4
2026-09-16 20:50 | 62.6 | 0.742 | 17.6 | 40.6
2026-09-17 11:37 | 14.8 | 2.25 | 8.34 | 39.1
2026-09-27 23:18 | 1640 | 47.8 | 1.24 | 32.2
2026-09-28 09:08 | 1660 | 33.3 | 1.25 | 32.2
2026-09-29 10:08 | 1660 | 80.1 | 1.25 | 31.9
2026-09-30 09:31 | 1610 | 60.1 | 1.26 | 32
2026-10-01 10:53 | 1550 | 59.8 | 1.26 | 32
2026-10-02 08:55 | 1540 | 46.9 | 1.26 | 32
2026-10-03 15:35 | 1490 | 60.9 | 1.26 | 32
2026-10-05 09:05 | 1410 | 41.1 | 1.26 | 32
2026-10-06 09:08 | 1350 | 48 | 1.26 | 32

## Events
Date/time | Label | Line style
2026-09-02 12:25 | Pump is turned on | :
2026-09-05 10:18 | Anode signal starts | --
2026-09-10 11:00 | Pump is turned off | -.
2026-09-12 13:06 | Pump is turned on | :
2026-09-16 14:37 | Pump is turned off | -.
2026-09-17 11:37 | O2 scale changed to 0–1 ppb | --
2026-09-27 23:18 | Filter regenerated Pump is back on | :

## Gap
Start | End | Label
2026-09-02 08:42 | 2026-09-05 10:18
2026-09-17 11:37 | 2026-09-27 23:18

## Settings
Parameter | Value | Units / description
Gas analyser O2 zero offset | 12.4 | ppb; subtracted from liquid O2 readings
Cathode voltage | -250 | V
Anode grid voltage | 3144 | V
Anode voltage | 2967 | V
Drift length | 16 | cm
Trustworthy monitor start index | 6 | 0-based row index
Gas lifetime scale | 1 | multiplicative scale
Liquid start | 2026/02/09 00:00 | timestamp
Ullage start | 2026/09/09 13:15 | timestamp
Liquid again | 2026/15/09 16:47 | timestamp
O2 scale changed | 2026/17/09 10:32 | timestamp
Projection days | 20 | days

## README
Edit Measurements to add/change measurement values.
Edit Events to add/change vertical plot annotations. Use matplotlib line-style strings such as :, --, -., or -.
Gap controls the shaded no-signal interval. The current interval is from the last 17/09 measurement to the next 27/09 measurement.
Settings contains experimental/configuration values that can be changed without editing the Python script.
Keep the workbook in the same directory as plot_lifetime_history.py, or pass another workbook path with --data-file.